1.3c Current Electricity 
Alternating Currents

AQA AS Specification

| Lessons | Topics |
| --- | --- |
| 1 to 3 | Alternating currents Sinusoidal voltages and currents only; root mean square, peak and peak-to-peak values for sinusoidal waveforms only. Irms = Io / √2; Vrms = Vo / √2 Application to calculation of mains electricity peak and peak-to-peak voltage values. |
| 4 & 5 | Oscilloscope Use of an oscilloscope as a d.c. and a.c. voltmeter, to measure time intervals and frequencies and to display a.c. waveforms. No details of the structure of the instrument is required but familiarity with the operation of the controls is expected. |

Direct current (d.c.)

This is electric current that does not change direction in a circuit.

Note: Direct current may change in size.

Alternating current (a.c.)

This is electric current that repeatedly reverses its direction.

Sinusoidal voltage variation

Sinusoidal voltage variation causes the most common type of alternating current.

The frequency of the voltage is equal to the number of complete cycles produced in one second.

The UK’s a.c. supply has frequency of 50Hz. (USA is 60Hz)

The peak value (V0 or I0 ) is the maximum current or pd in either direction.

The UK’s a.c. voltage supply has a peak value of 325V. (USA is 155V)

The peak-to-peak value (2V0  or 2I0 ) is equal to the maximum variation in current or pd.

With a pure a.c. this is equal to twice the peak value.

The UK’s a.c. supply has a peak-to-peak voltage of

The period of the a.c. is the time taken to complete one cycle of variation.

The UK’s a.c. supply has a period of

The heating effect of a.c.

The heating effect of current is independent of the direction of current flow.

Power is the rate of heat transfer.

With a resistor, R :			P = I2 R

With a varying current:		P = < I2 > R

With sinusoidal variation: 	< I2 >  = ½ I02

And so: 			P = ½ I02  R

Root mean square values

The root mean square (rms) value of an alternating current is equal to the value of direct current that would give the same heating effect as the alternating current in the same resistor.

if: 		 Irms2  R  =  ½ I02  R

then: 		Irms2   =  ½ I02

and so:	Irms   =  I0  / √2

also with pds:		Vrms   =  V0  / √2

and: 				P = Irms Vrms

Question

Calculate the rms values of the UK and USA mains voltage supplies if the peak values, V0 are 325V and 155V respectively.

Complete:

| V0 / V | I0 / A | R / Ω | Vrms / V | Irms / A | P / W |
| --- | --- | --- | --- | --- | --- |
| 12 | 4 |  |  |  |  |
|  |  | 50 | 230 | 4.6 |  |
| 155 |  |  |  | 5.5 |  |
|  |  |  | 1.41 |  | 0.50 |
|  | 0.30 | 20 |  |  |  |

The Oscilloscope

- An oscilloscope (of traditional design) consists of a specially made electron tube and associated control circuits.

- An electron gun at one end of the glass tube emits electrons in a beam towards a fluorescent screen at the other end of the tube. Light is emitted from the spot on the screen where the beam hits the screen.

- The position of the spot on the screen is affected by the pd across either pair of deflecting plates (Y1Y2) and (X1X2).

- The X-plates deflect the beam horizontally, the Y-plates vertically. In both cases the deflection of the beam is proportional to the applied pd.

The oscilloscope ‘graph’ scales

Displaying a waveform

1. The time base

- The X-plates are connected to the oscilloscope’s time base circuit.

- This makes the spot move across the screen, from left to right, at a constant speed.

- Once the spot reaches the right hand side of the screen it is returned to the left hand side almost instantaneously.

- The X-scale opposite is set so that the spot takes two milliseconds to move one centimetre to the right. (2 ms cm-1).

2. Y-sensitivity or Y-gain

- The Y-plates are connected to the oscilloscope’s Y-input.

- This input is usually amplified and when connected to the Y-plates it makes the spot move vertically up and down the screen.

- The Y-sensitivity opposite is set so that the spot moves vertically by one centimetre for a pd of five volts (5 V cm-1).

- The trace shown appears when an alternating pd of 16V peak-to-peak and period 7.2 ms is connected to the Y-input with the settings as shown.

Measuring d.c. potential difference

All three diagrams below show the trace with the time base on and the Y-gain set at 2V cm-1.

Measuring a.c. potential difference

Let the time base setting be 10ms cm-1 and the Y-gain setting 2V cm-1.

In this case the waveform performs one complete oscillation over a horizontal distance of 2 cm.

Therefore the period of the waveform is 2 x 10ms

period = 20 ms

as frequency = 1 / period

frequency = 1 / 0.020s

= 50 Hz.

The peak-to-peak displacement of the waveform is about 5cm.

Therefore the peak-to-peak pd is 5 x 2V

Peak-to-peak pd = 10V

Measuring a time interval

The diagram opposite shows how an oscilloscope could be used to measure the speed of a pulse of ultrasound.

A trigger pulse is sent from the oscilloscope to the transmitter. At the same time the spot is moved across the screen by the time base.

When the receiver, which is connected to the Y-input, detects the pulse a deflection appears on the screen.

If the time base had been set to 2 ms cm-1 then this pulse is shown to have taken about 7 ms to traverse the gap between the transmitter and receiver.

Note: The time taken for the pulse to travel as an electric current in the wires is usually so small (< 1 microsecond) that it can be ignored.

Question 1

Measure the approximate period, frequency and peak-to-peak pd of the trace opposite if:

Time base = 5ms cm-1

Y-gain = 5V cm-1

Question 2

Measure the approximate period, frequency and peak pd of the trace opposite if:

Time base = 2ms cm-1

Y-gain = 0.5V cm-1

Question 3

The trace shows how a waveform of frequency 286 Hz and peak-to-peak pd 6.4V is displayed.

Suggest the settings of the time base and Y-gain amplifier.

6.1 Alternating current and power

- Explain what is meant by alternating current

- Draw figure 1 on page 74 and define what is meant in the context of a.c. (a) peak value and (b) peak-to-peak value.

- Explain what is meant by the r.m.s value of a sinusoidal current and voltage. State the equations relating r.m.s. values to peak values.

- Calculate the rms values of the UK and USA mains voltage supplies if the peak values, V0 are 325V and 155V respectively.

- Try the summary questions on page 76

6.2 Using an oscilloscope

- Explain how an oscilloscope is able to display an alternating waveform. Your description should include an account of the role of the time base and the Y-sensitivity controls.

- Explain how an oscilloscope can be used to measure: (a) d.c. voltage; (b) a.c. voltage; (c) a time interval & (d) frequency.

- An oscilloscope is set with its time base on 10 ms cm-1 and Y-gain on 2V cm-1. Draw diagrams of the traces that would be displayed with inputs of: (a) 0V d.c.; (b) +5V d.c.; (c) – 3V d.c.; (d) sinusoidal a.c. of frequency 50Hz and peak value 4V.

- Describe how an oscilloscope could be used to measure the speed of an ultrasound pulse.

- Try the summary questions on page 79

# Text boxes

The sinusoidal variation of the voltage of the UK’s domestic mains supply.